AutoStart and Stop

The following batch files are supplied, in the  user’s current MeterGrapher directory:

| StartLog.bat | Start logging with current settings. |
| --- | --- |
| StopLog.bat | Stop logging and close MeterGrapher (only works if logging is in progress) |

Users can incorporate these files into scripts to automate MeterGrapher starting and stopping.
StartLog.bat can be included in the PC’s Startup section, so that if the PC is restarted MeterGrapher will launch and start logging immediately.