Location of Files

When MeterGrapher (MG) is installed the following file locations are used:

C:\Program Files\CDIMeters\MeterGrapher:  The executable and its supporting files

C:\Program Data\ CDIMeters\MeterGrapher: File holding the location of User Documents

C:\Users\[UsersName]\MyDocuments\CDIMeters\MeterGrapher:  User Documents.

Moving User Documents

The user can change the location of User Documents after installation – it may be more convenient to have them elsewhere, e.g. on a network drive.

To do this use Options/Directory Selection. This will open a dialog allowing you to select or create a directory.

You will be given the option to copy the files from their existing location. Generally you would select Yes. See Multiple Configurations below to see why you would select No.

A dialog will confirm that the files have been copied and that the new location is the default.  MG will then close – re-start it for the changes to take effect.

Note that uninstalling MG will not delete these files.

Backward Compatibility

This file organisation is new in Version 2.10.  Hitherto everything was installed under Program Files.  The 2.10 Installer will do the following if it detects and earlier version:

If the old default file location (Program Files\MeterGrapherAd) is in use, User files are copied to C:\Users\[UsersName]\MyDocuments\CDIMeters\MeterGrapher.

If the User has changed the location of the files the designated location is retained.

(On the MG main form there is a caption: ‘Mouse-over for current directory’.  Use this if you are not sure where your files are!)

Multiple Configurations

If you do not copy the files you have in effect a new MG installation. This can be useful if you wish to hold two configurations – e.g. one that is ‘normal’, logging all meters at a defined period, and one for investigating particular issues, perhaps logging one or two meters very frequently.

You can switch between the two directories, choosing Not to copy the files.

You should switch between the two configs using a single instance of MG. If you run two instances of MG from a single install, only one will operate properly. PLEASE DON’T DO THIS!

If you do want to run two instances install MG again to a different location. It’s not designed to do this, and you will have a lot of windows on screen, and it’s not clear which windows belong to which instance, but it does work!