Log File Naming

The default log file name for most data is CDICD2009.txt
If the user chooses to log usage for CDI Meters, CDIUD2009.txt is created.

There are two events that will cause new log files to be created:
The user requests it by choosing ‘Start New log Files’ in the main window
The meter / adapter configuration changes

NOTE THAT NO DATA IS EVER LOST. (Having said that, the user is responsible for backups!)

The naming convention for old log files is CDICD2009nn.txt, where nn is the first available unused integer. Thus the oldest old log will be CDICD20091.txt, etc.

Other files are treated similarly:
CDIUD2009.txt – CDI meter usage data
AdConfig.txt – Configuration Data
MADiagnostic.txt – Diagnostic file
CommsDiagnostic.txt – Diagnostic file

The user should periodically ‘Start New log Files’ if the logs are getting very big (>1MB), otherwise system performance may deteriorate.